| device | device location | modality | number of studies | number of experiments | sampling frequency | number of channels / electrodes | study_ids |
| --- | --- | --- | --- | --- | --- | --- | --- |
| own device | wrist ¦ chest/torso | ECG | 4 | 7 | 100hz ¦ 1000hz ¦ 40 kHz | not reported ¦ 3 electrodes ¦ 2 electrodes | 205; 253; 278; 43 |
| own device | wrist | PPG | 5 | 37 | 100hz ¦ 125 Hz ¦ 1000hz ¦ 300 Hz | not reported ¦ one channel (green) | 205; 266; 278; 298; 374 |
| own device | wrist ¦ neck ¦ chest/torso | SCG | 1 | 120 | 150 Hz | one channel (green) | 147 |
| own device | not reported | VHF | 1 | 27 | 1000 Hz | antenna | 75 |